## Per-Unit Base Values
Voltage Level | Vbase (kV) | Sbase (MVA) | Zbase (Ω) | Ibase (A) | Notes
Utility | 69 | 10 |  |  | Substation incoming, 5000 MVA fault level
Substation Bus | 13.8 | 10 |  |  | T1 secondary, also feeder source side
Feeder Bridge | 4.16 | 10 |  |  | IEEE 13-bus nominal voltage, bridge transformer secondary
MCC Utilization | 0.48 | 10 |  |  | Substation 480V distribution
Lighting/Office | 0.208 | 10 |  |  | Substation 208V distribution